# Unit Number

02

# XBee Address

0013a200 40b0e37d

# Temperature Addresses

|  |  |
| --- | --- |
| 28CCD81205000096 | 283CA12205000032 |

# Notes

## 2014.07.15

* GND wire for TSL2561 resoldered
  + Sensor appears to be working again
* XBee reprogrammed for high-power transmission

## 2014.07.14

* No light data is being received from the TSL2561 sensor

## 2014.07.09

* Deployed on roof of Building 17

## 2014.07.08

* Microphone light is constantly on
  + Still reacts to sound
  + Seems to get dimmer when no light is getting to the unit