# Unit Number

03

# XBee Address

0013a200 40ad1934

# Temperature Addresses

|  |  |
| --- | --- |
| 2889392205000057 | 2826312205000011 |

# Notes

## 2014.07.09

* Wall temperature sensor needs heatshrink

## 2014.07.08

* Temperature sensors not responding
  + Incorrect wire order on wall temperature sensor
  + Rewired and working